## MC_MOI Survey Checklist
Surveyor Name
Surveyor Organization Name
Surveyor Mobile Number
Surveyor Email ID
Reference Checklist
Company Name
Site Survey Date
Site Location (Region/City/Coordinates)
Site ID
Project Name
Site Physical Solution (GBT/RTT/RTP)
Tower/Pole Height
Tower/Pole Type
Tower Supplier
Power Source
CIVIL & SITE GENERAL SURVEY CHECKLIST
SN | GENERAL INFO & SITE DATA REQUIRED | CHECKED | REMARKS |  | PHOTO
1 | STC Site ID and other operator Site ID if the site is sharing
2 | TAWAL Sticker on Gate or Tower/Equipment Shelter
3 | Vehicle Gate & Passenger's Gate
4 | Chain Fence (4-Corners) inside & outside
5 | Tower Name Plate ID
6 | Clear Photo of Tower foundation
7 | Photos per each of all the Tower Platforms
8 | Photos & statement if there any damaged/bent tower members? (If damage is reported, indicate the affected tower leg (A, B, C, etc.), the specific member, and the height where the damage is located)
9 | Photos & statement if there any missing tower members/bolts ? (If damage is reported, indicate the affected tower leg (A, B, C, etc.), the specific member, and the height where the missing is located)
10 | Photos & statement if there any loose or rusted tower base/member, anchor bolts? (If damage is reported, indicate the affected tower leg (A, B, C, etc.), the specific member, and the height where the base/member is located)
11 | Tower Verticality in good condition
12 | Photos & statement if there any visible rusted reinforcement bars?
13 | Photos & statement if there any cracks or spalling on any type of foundation in the site?
14 | Photos & statement if there any signs of settling/movement for any type of foundation?
15 | Tower Climbing Ladder are checked and secured, for Monopole inside climbing ladder photos to be captured
16 | Tower Cable Ladder with clear photo of the cables, for Monopole inside climbing ladder photos to be captured
17 | Photos of Feeder Cables on Tower, for Monopole inside climbing ladder photos to be captured
18 | Clear Photos of Tower LEG Members from Bottom to Top Tower/Pole Leg A = Azimuth Degree Tower/Pole Leg B = Azimuth Degree Tower/Pole Leg C = Azimuth Degree Tower/Pole Leg D = Azimuth Degree
19 | Photo of all each RF antenna/RRU/RRH label or other operators and also take its cables. (RFM/RRH/RRU installed in Tower Leg) (Name of RFM/RRH/RRU = Tower/Pole Leg A)
20 | If label not found on antenna/RFM/RRU/RRH measurements (LxWxH) photos
21 | Clear zoom-in photos of each Antenna, radio and other equipment on tower and with full face
22 | On photos identify what Sector-A, Sector-B, & Sector-C for antenna/RFM/RRH/RRU
23 | Installed base Microwave antenna take the label on back zoom clear photos and take the antenna cables also
24 | Installed base Microwave antenna Size (Diameter-0.3/0.6/1.2/1.8m) and Installed base height
25 | Installed base Microwave Near-End and Far-End details
26 | Panoramic View (For all antennas back, STC or other operators)
27 | Take tower body step-by-step from bottom to top
28 | Take height of antenna from ground to Center of antenna (also applicable for Microwave, RFM, RRU & RF)
29 | Take photos all equipment like the shelter, generator, fuel tank, underground fuel tank, chimney concrete pads, fuel gate, Sceco wall, Solar Panel, ATS, ODU, any other equipment on ground
30 | Photos for each Roxtec window inside & outside the shelter, Photos to clearly show location and zoom-in view of asset
31 | Photos for each Cable Tray continuous from Roxtec to tower
32 | Photos for any equipment found on Cable Tray Posts like ODU, RFM/RRU/RRH, GPS antenna
33 | Take Distance of Tower Legs on foundation (Leg-to-Leg)
34 | Tower height and all detail if no name plate
35 | For Building Equipment Shelter like LDN Sites take photos top view of building
36 | GPS Coordinates Photo
37 | General condition of site (Gravel, site slope, fence foundation etc.…
38 | Civil site layout sketch as per actual site including structure(showingat minimum Eqp. EL, Az.& location from any reference) , shelter, ODU, generator, fuel tank, underground fuel tank, ACDB, MCCB and all assets on site. All Dimension
39 | Tower Lighting including( Beacon Lights,Terminal Box and Lighting cable)
40 | Complete Tower Grounding including( Lightning Rod, Earthing Busbar and Lightning Cable)
41 | Tower Top Installed FPFH photo required for clear identification in order to verify the number of FPFHs at the tower top.
42 | Individual Tower Top Installed FPFH Input Connectivity (Single/Dual)
43 | Individual Tower Top Installed FPFH Output Connectivity in Used
44 | Individual Tower Top Installed FPFH Output Connectivity Free
45 | Hand Sketch of Tower Top(mentioning all the equipment with Azimuth, height). For each operator.
46 | Hand Sketch of AC Path with Length & Cable size.
47 | Hand Sketch of DC Path with marking of connected Load.
48 | Cable clamp photo -to identify the Type of cable clamp, number of cable supported,free holes, Installtion support(wall, Tower angle, rod)
49 | Grounding Bus installed at Tower Top (Clear view for used and free)
ELECTROMECHINCAL & SITE GENERAL SURVEY CHECKLIST
SN | OUTSIDE SHELTER GROUNDING | CHECKED | REMARKS |  | PHOTO
1 | Fence Grounding Cable
2 | Inspection Pit
3 | Ground Rod
4 | Sceco Grounding
5 | Sceco/Interface Grounding
6 | Generator Grounding
7 | Fuel Tank Grounding
8 | Tower Grounding
9 | Shelter/ODU Grounding
10 | Shelter/ODU opening
11 | Shelter/ODU Earthing Busbars
12 | Solar Panel Grounding
POWER SUPPLY
SN | SCECO | CHECKED | REMARKS |  | PHOTO
1 | Sceco Box Location
2 | MCCB Rating
3 | Meter Nameplate/Serial number
4 | Sceco AC Cable Size ( measurement with Vernier and also capture label/marking on cable)
5 | Voltage Reading L/L
6 | Voltage Reading L/N
7 | Current Reading for all operator at site
8 | Sceco Terminal Block
9 | If Switchgear cabinet ( Full View/Brand & Model/Main MCCB/Branch MCCB)
10 | Distance of existing SCECO to Site with sketch if its far away
SN | DG/SG | CHECKED | REMARKS |  | PHOTO
1 | Generator Location
2 | Nameplate Brand/Model
3 | Nameplate Rating( Engine+Alternator+Dynamo)
4 | Generator LCD Display( Voltage, Current,Power)
5 | Generator Panel
6 | Generator MCCB rating
7 | Voltage Reading L/L
8 | Voltage Reading L/N
9 | Generator AC Cable Size ( measurement with Vernier and also capture label/marking on cable)
10 | Fuel Tank Location/brand/capacity
11 | Fuel Tank Fuel Gate
12 | ATS Location
13 | ATS Brand/nameplate
14 | ATS Breaker/Contactor Rating
15 | Current Reading @ ATS
16 | Voltage Reading @ ATS
17 | AC Cable Size@ ATS ( measurement with Vernier and also capture label/marking on cable)
SN | HYBRID AC/DC | CHECKED | REMARKS |  | PHOTO
1 | Location
2 | Nameplate Brand/Model
3 | Nameplate Rating
4 | LCD Display
5 | Hybrid Panel
6 | MCCB rating
7 | Voltage Reading L/L
8 | Voltage Reading L/N
9 | Cable Size ( measurement with Vernier and also capture label/marking on cable)
10 | Battery Name plate
SN | SOLAR | CHECKED | REMARKS |  | PHOTO
1 | Solar Panels
2 | Nameplate Brand/Model
3 | Nameplate Rating
4 | Solar DC Cable Size ( measurement with Vernier and also capture label/marking on cable)
5 | Combiner Box /Brand/Model/CB
6 | Controller/Brand/Model/Rating
7 | Inverter/Brand/Model/Rating
SN | TRANSFORMER | CHECKED | REMARKS |  | PHOTO
1 | Transformer Location
2 | Brand Model
3 | Name Plate Rating
4 | AC Cable Size ( measurement with Vernier and also capture label/marking on cable)
5 | Voltage Reading L/L(input & Optput)
6 | Voltage Reading L/N
7 | Current Reading
8 | Terminal Block
SN | SERVICE DISCONNECT/INTERFACE | CHECKED | REMARKS |  | PHOTO
1 | Service Disconnect Box Location
2 | Brand Model
3 | MCCB Rating
4 | AC Cable Size ( measurement with Vernier and also capture label/marking on cable)
5 | Voltage Reading L/L
6 | Voltage Reading L/N
7 | Current Reading
8 | Terminal Block
SN | SHAREABLE MDB/LDB/SWITCHGEAR CABINET | CHECKED | REMARKS |  | PHOTO
1 | Panel Location
2 | Brand Model
3 | MCCB Rating( Main CB + All Branch CB's)
4 | AC Cable Size (Main + Branches) ( measurement with Vernier and also capture label/marking on cable)
5 | Voltage Reading L/L ( Main + Branch)
6 | Voltage Reading L/N ( Main + Branch)
7 | Current Reading ( Main + Branch)
8 | Terminal Block /Neutral bus/Grounding Bus
SHELTER/ODU
SN | SHELTER/ODU | CHECKED | REMARKS |  | PHOTO
1 | SKETCH showing All Equipment's with Dimension(site layout & Shelter Layout)
2 | Shelter photo location( 360 degree shot)
3 | Shelter Brand Model /Name plate
4 | Air-condition( Location/Brand& Model/Nameplate/breaker and cable)
5 | Inside Equipment's photos( at door take photo showing front, left and right side of inside shelter equipment's)
6 | Inside Shelter openings( Roxtec/HatchPlate+Fiber optic entry etc.) Close & Far photo to identiy the number of Roxtec windows.
7 | Shelter MDB (location/close & open view /Brand&Model/ Open showing internal cables/Main MCCB + Branch CB rating & tagging)
8 | Inside Shelter Cable Tray & Cable Ladder
9 | Fire Extinguisher(Location/Brand & name/Pressure gauge/Switches location)
10 | BATB,HVACCP,SACP,FACP,TOLCU( Location/Brand & Model/inside photos)
11 | Telecom Cabinets( Full View showing location/Cabinet Brand & Model/Inside Module tagging and Brands)
12 | TRM Rack( Location/TRM DCDP details(CB+Cable tagging)/available TRM modules with tagging)
13 | Rectifier Cabinet ( Location/Brand & Model/Open & close door/LCD Display( Load current+ voltage)/completer DCDP breakers/fuse + cable tagging/ Main AC breaker+cable)
14 | If SMPS Display is faulty, Load from Clamp meter in each DC Load cable
15 | Battery( Location/Battery Brand& Model/Installation Date/Battey DC Cable going to Rectifier)
16 | DC Fuse Cabinet/DCDP wall mount( Full View/Brand & Model/Main DC cables with tag/Main Fuse/CB & Brand Fuse&CB)
17 | Others( Location/Full View/ Brand& Model/ Cable Size and breaker if applicable))
18 | Shelter/Outdoor Plinth Dimensions
19 | Space proposal for the new ODU with dimensions
Extra
SN | Video | CHECKED | REMARKS |  | PHOTO
1 | Marking from the finger & Voice Note for the respective connected DC load in DCDB.
2 | Voice Note with Tower Top showing the placement & Location of Radios, Antenna, FPFH, Microwave
Fill (value)below Detail for DC Power System
Each Battery Capacity(AH) |  | AH
Number of Battery |  | Qty
Each Rectifier(DC Module) Capacity |  | W
Number of Rectifier(DC Module) |  | Qty
Display Voltage |  | V
Display Total DC Load current |  | A
If Display Not available- Total Load at Site |  | A
Fill Below Detail For All HW On Tower Top, Based On The Site Scenario
STC | [5 empty] | Other Operator on Tower
Antenna Model |  | Dimesnion (M) | Height (M) | Azimuth (M) | Sector 1/2/3 or Leg A/B/C/D | Antenna Model | Dimesnion (M) | Height (M) | Azimuth | Sector 1/2/3 or Leg A/B/C/D
Radio Model |  | Dimesnion (M) | Height (M) | Sector 1/2/3 or Leg A/B/C/D
[6 empty] | Radio Model | Dimesnion (M) | Height (M) | Sector 1/2/3 or Leg A/B/C/D
FPFH |  | Dimesnion (M) | Height (M) | Empty Port | Installation Leg A/B/C/D
[6 empty] | FPFH | Dimesnion (M) | Height (M) | Empty Port | Sector 1/2/3 or Leg A/B/C/D
Microwave Model |  | Dimesnion (M) | Height (M) | Azimuth | Sector 1/2/3 or Leg A/B/C/D
[6 empty] | Microwave Model | Dimesnion (M) | Height (M) | Azimuth | Sector 1/2/3 or Leg A/B/C/D
Other Operator
Voltage |  | Current R | Current Y | Current B | Remarks
Approval Codes for Site Survey Report
A. ACCEPTED B. REJECTED
Comments:
Design Engineer Details
Name :
Date :
Signature :